FusionViewer User’s Guide

January 29, 2007

Introduction

FusionViewer is an open source medical image display package developed by Insightful and University of Washington. It is designed to improve the physician's ability to interpret the results of combined positron emission tomography (PET) and computed tomography (CT) studies by providing a multi-platform open source display application. As PET/CT combined studies are increasingly being used for the diagnosis, treatment decisions, and follow-up of cancer patients, improving the interpretive value of these studies would directly benefit cancer patients. This software is a display application for validating and improving visualization. It facilitates the quantitative measurements on the fused image series. An effective display of the fused data permits easy viewing of the anatomical information provided by the CT images while simultaneously displaying the functional data provided by PET.

This guide is for FusionViewer Alpha release. The best way to get started is to download the FusionViewer demo and test data set from project website at http://fusionviewer.sourceforge.net/.  You are also encouraged to join the mailing list at https://lists.sourceforge.net/lists/listinfo/fusionviewer-users so that you know what is going on in FusionViewer community. 

· Operating System: Windows 2000/XP, Mac OS X 10.3.5 or later
· Java Runtime Environment (JRE): 1.5 or later

· Current version: Alpha

· License: General Public License (GPL)
Download

Please visit http://fusionviewer.sourceforge.net/demo/ to download a demo.
[image: image1.png]az




[image: image2.png]B





MacOSX_demo.tar.gz (5.5MB, zip archive)

Windows XP: Windows_demo.zip (pending)
	
	

	
	


Note: This is an alpha version demo.   If you find a bug or want to suggest some improvement, please visit project tracker system at http://sourceforge.net/tracker/?group_id=162712&atid=824874.
Installation

For Mac OS users, unzip MacOSX_demo.tar.gz.  In the unzipped folder, you will find a FusionViewer application icon (FusionViewer.app).  Drag it to your hard disk. 


[image: image3.wmf]
For Windows users, unzip Windows_demo.zip.  In the unzipped folder, you will find a folder named FusionViewer that contains all the library file, support data and FusionViewer.jar file.  Drag the whole folder to your hard disk.
Note: JRE 1.5 or higher is required to run FusionViewer.  You can get it from http://java.sun.com.
Opening Image Files

To run FusionViewer, double-click FusionViewer.app icon (in Mac OS) or FusionViewer.jar (in Windows). And the following dialog box will be displayed.
[image: image4.png]806 Open Images

Background | /Local/Users /annie/ TestDicomimage/ CT.mhd Browse

Foreground | /Local/Users/annie/ TestDicomImage/PET.mhd| (Browse )
Image Orientation Display Mode

REcenth) g @ Axial O Sagittal O Coronal @ Fusion O Linked Cursor

Comn) ()





You can type in the paths to the images or click the Browse buttons to interactively choose the image files. The recent popup menu shows the file history containing up to five pairs of files that have been recently opened.

· To display a single image file: specify a Background field only (leave Foreground blank).

· To display a pair of image files: specify both Background and Foreground files. 

· The Display Mode controls the screen layout that initially appears for image pairs. The modes are described in the next section.

After clicking the 'Open' button the image loading process starts.  

[image: image5.png]Opening CT1.mhd

mEEEa———




Loading large image series (e.g. whole-body CT series) is time consuming.  It takes ~45sec to load two MetaIO image series with total size of 200MB.
Tip: If you want to open 2 files in the same directory, you can save time by copying and pasting the file path for the second file before clicking Browse. 

Supported File Types

FusionViewer can read the following file types: PNG, TIFF, JPEG, BMP, Analyze, Interfile, GDCM, GE, Nrrd, GIPL, VTK, MetaIO, and DICOM. If you have a raw image or a raw image with a header, you may be able to import the image by constructing a MetaIO header file. See the following URL for more information: http://caddlab.rad.unc.edu/software/MetaIO/MetaIO-Introduction.htm
For current Alpha version, DICOM format images need to be converted to MetaIO format. A separate function called Dicom2MetaIO in the unzipped demo folder is used to do the conversion.  This functionality will be improved to read in a PET/CT DICOM series by specifying the image folder in a future release.

Main Window

The appearance of the main window will vary depending on whether you have opened 2D or 3D images and whether you have opened a single image or a pair of images. By default we open a pair of PET/ CT images.  For fusion display mode, the fusion mode window has axial, coronal, and sagittal views shown in the upper left, upper right, and lower left corners of the window. Linked cursor mode shows the axial, coronal, and sagittal views for one image along the top of the window and the same views for the other image along the bottom of the window. In both modes, the green crosshairs are locked to the same physical location in all views.
[image: image6.png]) . ()
I 7
! v
/ D
! \
/
Noal 2
N, o
A7

tackground [ | &
Foegound [ | &

+ Blend | Checkerboard _Split Window
.

Opacity





Fusion Mode

[image: image7.png]o DRl a4 xae
= sorom [N . -
& L .

@

7/

Top
Bottom

pixel

+ Y 27863





Linked Cursor Mode

Image Toolbar

The active tool controls the function of the left mouse button.
	Tool
	Usage
	Shortcut

	[image: image8.bmp]
	Click to move the 3D cursor.
	

	[image: image9.bmp]
	Click and drag towards the top of the screen to zoom in. Click and drag towards the bottom to zoom out.
	Option/Alt-left click

	[image: image10.bmp]
	Click and drag to scroll the view when zoomed in.
	Right-click

	[image: image11.bmp]
	Click on a view to copy its contents to the clipboard
	

	[image: image12.png]



	Draw a rectangle ROI on the image to get the statistical data of that region
	

	[image: image13.png]



	Draw a line on the surface of an image to get the length and the profile of the line
	


Image Controls

The image window, level, and color map are set using the following controls.

[image: image14.png]&

foreground [ | &




To change the color map, click the [image: image15.bmp] icon to the right of the color scale. If the last item in the menu, Invert, is selected, the color map will be inverted (i.e., Grayscale will go from white to black instead of from black to white). Select Invert again to return the color map to its original state. 

To adjust the window and level, click and drag the vertical bars at the ends of the color scale. To adjust the level, click and drag in the middle of the color scale. While the window and level are being adjusted, the numerical window and level values are displayed in a floating window. A set of window and level presets is available from the [image: image16.bmp] icon to the right of the color scale for CT images (default set as Background).

Note: Window and level presets should only be applied to CT image and not a PET image.  If you accidentally do so, you can reset Window/Level for PET image by dragging the vertical bars to maximum range.

	[image: image17.png]&
Default
Abdomen
Bone
Cerebrum
Liver
Lung
Mediastinum
Pelvis.
Posterior Fossa.

Oth





Window and level presets menu
	[image: image18.png]L
v Grayscale
Hot Metal
Jet
Red Temperature
Red
Green
Blue

Invert
e




Color maps menu


Navigation Controls and Pixel Information

The location of the 3D cursor, as shown by the green cross-hairs on top of the image, is also displayed in this set of controls. You can type in a set of cursor coordinates here. To switch the units from millimeters to pixels, use the menu on the right-hand side.
[image: image19.png][c0)

20112

2

[c0)

25088

w

[c0)

x 25088




The position of the mouse is shown in the panel below. In contrast to the navigation panel above, the mouse position is shown regardless of whether a mouse button has been clicked. The position in image pixels and millimeters is shown along with the value of the pixel underneath the mouse pointer.

[image: image20.png]Background
Foreground

pixels
201256 106
7364106

284.96 25088 450.77

value
50
9027.8





Fusion Controls

When viewing a pair of images in fusion mode， you can choose the fusion rendering mode by selecting one of the following tabs: Blend (default), Checkerboard, or Split Window.

Blend (default)
In Blend (i.e. alpha blend) mode, the Background image is multiplied by the percentage chosen with the Opacity slider ((). The Foreground image is multiplied by (1 - () and the two images are added together for display.
[image: image21.png]Blend  Checkerboard ~ Solit Window .
Blend | Checkerboard | Split Window

Background: 50%




[image: image22.png]



Checkerboard
In Checkerboard mode, the image is divided into squares of the size chosen with the Block Size slider. Alternate squares show the Background and Foreground images.

[image: image23.png](Blend | Checkerboard | Solit Window .
Blend | Checkerboard | Split Window

BockSize T T

141 pixels




[image: image24.png]



Split Window
In Split Window mode, the Foreground image is displayed in a rectangle as shown below. The size of the rectangle can be changed by clicking and dragging on the boundary. Clicking and dragging in the middle of the rectangle will move the entire rectangle.
[image: image25.png]



To change the spacing, click the Set button. The opacity of the rectangle is controlled by the Opacity slider. The effect is similar to the Blend mode, except that it is localized within the rectangle.

[image: image26.png]Blend | Checkerboard

Opacity ==+ 1 1 1 1

Tickmark Spacing: 20.0 mm





View Menu

The View menu contains the following commands.

	Show Crosshairs
	Toggle whether the green crosshairs are visible.

	Switch Layout
	Switch between fusion and linked cursor window layouts.


[image: image27.png]FusionViewer File Resize

8 6 6

Switch Layout




Resize Menu

The View menu contains the following commands. These functionalities will be added in final/future release.

	Reset Zoom
	Set the zoom for each view to be the same. The images are zoomed so that none require scrolling.


[image: image28.png]FusionViewer File View

806
e ——




Customization

In the program installation directory, there is a Data subdirectory. Color maps and window/level presets are read from XML files in this directory when the application is launched.

Note: For Mac OS X, control-click on the FusionViewer icon in the Finder and select Show Package Contents. Go to the Data folder inside Contents/Resources/Java.

[image: image29.png]~ Open
Get Info

Color Label:
x e00000e

Show Package Contents
Move to Trash

Duplicate
Make Alias
Create Archive of “FusionViewer"

Copy *FusionViewer”
Paste

Enable Folder Actions

Configure Folder Actions...
————





Color Maps

Colormaps.xml contains a list of files in the Colormaps subdirectory that are loaded into the color maps popup menu. Each color map file is a text file that starts with the name of the color map on the first line. Each triplet of numbers defines the red, green, and blue values for each entry in the color map, starting at 0 for the line after the name. The numbers can be separated by spaces, tabs, and carriage returns. The red, green, and blue values can range from 0 to 255.

[image: image30.png][¢7xml version="1.8" encoding="UTF-8"7>
<i—- A set of colomap files in the Colormaps directory
Listed in the order in which they should be displayed.

<colornaps>
“le False">Hotnetal .bxt</fi Le>
“le False">Jet txt</Fi Le>
“le ‘truesRedTenperature. txt</file>
“le ‘truersRed.txt e/ iles
“le ‘truetsGreen.txt/files

“ile
oolornaps>

‘ruetsBlue. trt</Ti Le>




Colormaps.xml file


[image: image31]

 SHAPE  \* MERGEFORMAT 


 SHAPE  \* MERGEFORMAT 
First few lines of Hotmetal.txt file

Window and Level Presets

WindowLevelPresets.xml defines the items in the window and level popup menu. XML elements in this file define a name and its associated window and level settings. Each setting tag is a menu item with the window and level specified in its nested window and level tags.

[image: image32.png]<fxml version="1.9" encodin
rindouLevelSettingss

<setting nane="Default">
<vindou780</windows
<leve 1535/ Leve >
</settings

<setting nane="Abdonen">
<vindous350</windous
<leve 550/ Leve >
</settings

setting nane

<vindous2508</uindous
<leve 5508/ level>
/eettings




First few lines of WindowLevelPresets.xml file

Short-Cuts

Note: On Mac OS X, the short-cut key is the Command/Apple key instead of Control.
	Control-O
	Open a set of images

	Control-1
	Switch to top-most tool in the toolbar

	Control-2
	Switch to second tool from the top in the toolbar

	Control-3
	Switch to third tool from the top in the toolbar


[image: image33.bmp][image: image34.bmp]



Hot Metal


0	0	0


3	0	0


5	0	0


8	0	0











PAGE  
1
FusionViewer User’s Guide

_1105187729.doc
[image: image1.png]F7

FusionViewer







